## rptTEC
User | Project Name | Connection Point | Mw Connected | Mw Increase/Decrease | MW Total | TEC Effective from Date | Project Status | Host TO | Plant Type
District Energy Ltd. | Abedare | N/A | 10 | 0 | 10 |  | Built | NGET | CCGT
Vattenfall Wind Power Ltd | Aberdeen Bay Wind Farm | Aberdeen Bay 132/33kV Substation | 0 | 77 | 77 | 2015-12-01 | Consents Approved | SHE | Wind Offshore
Abernedd Power Company Ltd | Abernedd Power Station | Baglan Bay 275kV | 0 | 500 | 500 | 2015-10-31 | Consents Approved | NGET | CCGT
Abernedd Power Company Ltd | Abernedd Power Station | Baglan Bay 275kV | 0 | 414 | 914 | 2018-10-31 | Consents Approved | NGET | CCGT
RWE NPower plc | Aberthaw | Aberthaw 275kV Substation | 1620 | 0 | 1620 |  | Built | NGET | Coal
Novera Energy plc | AChruach Wind Farm | Achruach | 0 | 49.9 | 49.9 | 2014-06-30 | Consents Approved | SHE | Wind Onshore
E.ON Climate & Renewables UK Developments Ltd | Afton | Afton | 0 | 68 | 68 | 2015-11-30 | Awaiting Consents | SPTL | Wind Onshore
SSE Generation Ltd | Aigas | Aigas | 20 | 0 | 20 |  | Built | SHE | Hydro
Community Wind Power Ltd | Aikengall II Windfarm | Westerdod 132kV | 0 | 108 | 108 | 2015-10-31 | Consents Approved | SPTL | Wind Onshore
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 100 | 100 | 2017-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 200 | 300 | 2018-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 200 | 500 | 2019-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 300 | 800 | 2020-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 300 | 1100 | 2021-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 300 | 1400 | 2022-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 300 | 1700 | 2023-10-31 | Scoping | NGET | Tidal
Alderney Renewable Energy Ltd | Alderney Renewable Energy | Fawley 400kV Substation | 0 | 300 | 2000 | 2024-10-31 | Scoping | NGET | Tidal
RWE NPower Renewables Ltd | Allt Duine Wind Farm | Allt Duine 132/33kV Substation | 0 | 10 | 10 | 2017-10-31 | Awaiting Consents | SHE | Wind Onshore
RWE NPower Renewables Ltd | Allt Duine Wind Farm | Allt Duine 132/33kV Substation | 0 | 77 | 87 | 2018-04-30 | Awaiting Consents | SHE | Wind Onshore
An Suidhe Wind Farm Ltd | An Suidhe Wind Farm, Argyll (SRO) | Eredine Forest | 20.7 | 0 | 20.7 |  | Built | SHE | Wind Onshore
Andershaw Wind Power Limited | Andershaw Wind Farm | Linnmill GSP | 0 | 35 | 35 | 2015-10-30 | Scoping | SPTL | Wind Onshore
RWE NPower Renewables Ltd | Ardchonnel Wind Farm | Crossaig 132kV Substation | 0 | 40.7 | 40.7 | 2021-10-31 | Scoping | SHE | Wind Onshore
Iberdrola Renewable Energies Ltd | Ardkinglas | Ardkinglas | 19.25 | 0 | 19.25 | 2009-06-10 | Built | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Arecleoch | Arecleoch | 120 | 0 | 120 | 2013-03-01 | Built | SPTL | Wind Onshore
Channel Energy Ltd | Atlantic Array | Atlantic Array Offshore Substations | 0 | 300 | 300 | 2018-10-31 | Scoping | NGET | Wind Offshore
Channel Energy Ltd | Atlantic Array | Atlantic Array Offshore Substations | 0 | 300 | 600 | 2019-10-31 | Scoping | NGET | Wind Offshore
Channel Energy Ltd | Atlantic Array | Atlantic Array Offshore Substations | 0 | 300 | 900 | 2020-10-31 | Scoping | NGET | Wind Offshore
Channel Energy Ltd | Atlantic Array | Atlantic Array Offshore Substations | 0 | 300 | 1200 | 2021-10-31 | Scoping | NGET | Wind Offshore
Vattenfall Wind Power Ltd | Aultmore Wind Farm | Aultmore | 0 | 39 | 39 | 2017-04-01 | Awaiting Consents | SHE | Wind Onshore
RWE NPower Renewables Ltd | Bad a Cheo Wind Farm | Mybster | 0 | 29.9 | 29.9 | 2020-10-31 | Awaiting Consents | SHE | Wind Onshore
Baglan Generating Ltd & Baglan Operations Ltd | Baglan Bay | Baglan Bay | 552 | 0 | 552 |  | Built | NGET | CCGT
Baillie Wind Farm Ltd | Baillie Wind Farm | Dounreay | 52.5 | 0 | 52.5 | 2013-05-17 | Built | SHE | Wind Onshore
Barking Power Ltd | Barking | Barking 275kV Substation | 950 | 0 | 950 |  | Built | NGET | CCGT
Barking Power Ltd | Barking Power Station C | Barking 400kV Substation | 0 | 470 | 470 | 2017-10-31 | Consents Approved | NGET | CCGT
Barrow Offshore Wind Ltd | Barrow Offshore Wind Farm | N/A | 90 | 0 | 90 |  | Built | NGET | Wind Offshore
Centrica Barry Ltd | Barry Power Station | Aberthaw 132kV substation | 142 | 0 | 142 |  | Built | NGET | CCGT
Centrica Barry Ltd | Barry Power Station | Aberthaw 132kV substation | 142 | 93 | 235 | 2015-04-01 | Built | NGET | CCGT
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 132/33kV Offshore Substation | 0 | 20 | 20 | 2018-01-31 | Awaiting Consents | SHE | Wind Offshore
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 132/33kV Offshore Substation | 0 | 380 | 400 | 2018-04-01 | Awaiting Consents | SHE | Wind Offshore
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 132/33kV Offshore Substation | 0 | 300 | 700 | 2019-04-01 | Awaiting Consents | SHE | Wind Offshore
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 132/33kV Offshore Substation | 0 | 300 | 1000 | 2020-01-31 | Awaiting Consents | SHE | Wind Offshore
Citigen (London) Ltd | Beech Street/City Road | Beech Street/City Road | 30 | 0 | 30 |  | Built | NGET | CHP
ScottishPower Renewables (UK) Ltd | Beinn an Tuirc 2 | Carradale | 43.7 | 0 | 43.7 |  | Built | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Beinn Tharsuinn | Alness GSP | 29 | 0 | 29 |  | Built | SHE | Wind Onshore
Beinneun Wind Farm Ltd | Beinneun Wind Farm | N/A | 0 | 85 | 85 | 2021-10-31 | Consents Approved | SHE | Wind Onshore
E.ON Climate & Renewables UK Developments Ltd | Benbrack & Quantans Hill | Kendoon North | 0 | 72 | 72 | 2018-10-31 | Scoping | SPTL | Wind Onshore
Berry Burn Wind Farm Ltd | Berry Burn Wind Farm | Berry Burn 275/33kV Substation | 0 | 67 | 67 | 2013-10-31 | Under Construction/Commissioning | SHE | Wind Onshore
SSE Renewables Developments (UK) Ltd | Bhlaraidh Wind Farm | Levishie Wind Farm Substation | 0 | 108 | 108 | 2021-11-01 | Scoping | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Black Law | Black Law Wind Farm | 121 | -3 | 118 | 2014-04-01 | Built | SPTL | Wind Onshore
SSE Generation Ltd | Blackcraig Wind Farm | Black Craig | 0 | 57.5 | 57.5 | 2016-09-30 | Consents Approved | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Blacklaw Extension | Blacklaw Extension | 0 | 69 | 69 | 2015-09-30 | Consents Approved | SPTL | Wind Onshore
Grangemouth CHP Ltd | BP Grangemouth | Grangemouth | 120 | 0 | 120 |  | Built | SPTL | CHP
EDF Energy Nuclear Generation Ltd | Bradwell B | Bradwell 400kV Substation | 0 | 1670 | 1670 | 2021-09-01 | Scoping | NGET | Nuclear
Airtricity Developments (Scotland) Ltd | Braes of Doune | Braco | 74 | 0 | 74 |  | Built | SHE | Wind Onshore
Centrica Brigg Ltd | Brigg | Keadby 400kV Substation | 155 | 0 | 155 |  | Built | NGET | CCGT
Brockloch Rig Windfarm Ltd | Brockloch Rig Wind Farm | Dun Hill | 0 | 75 | 75 | 2015-10-30 | Consents Approved | SPTL | Wind Onshore
DONG Energy Burbo Extension (UK) Ltd | Burbo Bank Extension Offshore Wind Farm | NGET Bodelwyddan 400kV Substation | 0 | 254 | 254 | 2016-06-01 | Awaiting Consents | NGET | Wind Offshore
Energy Power Resources Ltd | Burwell | Burwell Main/Histon | 38 | 0 | 38 |  | Built | NGET | Thermal
C.GEN Killingholme Ltd | C.Gen Killingholme North Power Station | C.Gen North Killingholme | 0 | 490 | 490 | 2016-04-01 | Scoping | NGET | CCGT
UPM-KYMMENE (UK) Ltd | Caledonian Paper Mill | Meadowhead | 20 | 0 | 20 | 2009-03-10 | Built | SPTL | CCGT
CANTICK HEAD TIDAL DEVLOPMENT LIMITED | Cantick Head | Bay of Skaill 132/33kV substation | 0 | 30 | 30 | 2019-10-31 | Scoping | SHE | Tidal
CANTICK HEAD TIDAL DEVLOPMENT LIMITED | Cantick Head | Bay of Skaill 132/33kV substation | 0 | 65 | 95 | 2020-10-31 | Scoping | SHE | Tidal
CANTICK HEAD TIDAL DEVLOPMENT LIMITED | Cantick Head | Bay of Skaill 132/33kV substation | 0 | 65 | 160 | 2021-04-01 | Scoping | SHE | Tidal
Npower Renewables Ltd | Carnedd Wen Wind Farm | Mid-Wales West | 0 | 150 | 150 | 2019-10-31 | Scoping | NGET | Wind Onshore
Green Power | Carraig Gheal Wind Farm | Carraig Gheal 132/33kV Substation | 46 | 0 | 46 |  | Built | SHE | Wind Onshore
Carrington Power Ltd | Carrington Power Station | Carrington | 0 | 910 | 910 | 2014-04-02 | Under Construction/Commissioning | NGET | CCGT
SSE Generation Ltd | Cashlie | Bulls Lodge | 11.12 | 0 | 11.12 |  | Built | SHE | Hydro
E.ON UK plc | CDCL | Cottam 400kV Substation | 395 | 0 | 395 |  | Built | NGET | CCGT
SSE Generation Ltd | Ceannacroc | Ceannacroc | 20 | 0 | 20 |  | Built | SHE | Hydro
Celtic Array Ltd | Celtic Array Platform 1 | N/A | 0 | 500 | 500 | 2017-04-01 | Scoping | NGET | Wind Offshore
Celtic Array Ltd | Celtic Array Platform 2 | N/A | 0 | 500 | 1000 | 2018-04-01 | Scoping | NGET | Wind Offshore
Celtic Array Ltd | Celtic Array Platform 3 | N/A | 0 | 500 | 1500 | 2019-04-01 | Scoping | NGET | Wind Offshore
Celtic Array Ltd | Celtic Array Platform 4 | N/A | 0 | 500 | 2000 | 2020-04-01 | Scoping | NGET | Wind Offshore
Celtic Array Ltd | Celtic Array Platform 5 | N/A | 0 | 500 | 2500 | 2020-04-01 | Scoping | NGET | Wind Offshore
Celtic Array Ltd | Celtic Array Platform 6 | N/A | 0 | 500 | 3000 | 2021-04-01 | Scoping | NGET | Wind Offshore
SSE Generation Ltd | Clachan | Clachan | 40 | 0 | 40 |  | Built | SHE | Hydro
Vattenfall Wind Power Ltd | Clashindarroch | Clashindarroch | 0 | 37 | 37 | 2014-10-31 | Awaiting Consents | SHE | Wind Onshore
SSE Generation Ltd | Clunie | Clunie | 61.2 | 0 | 61.2 |  | Built | SHE | Hydro
Clyde Wind Farm (Scotland) Ltd | Clyde North and South Extension | Clyde North and South | 350 | 171 | 521 | 2015-10-31 | Scoping | SPTL | Wind Onshore
Scottish Power Generation Ltd | Cockenzie | Cockenzie | 0 | 0 | 0 |  | Built | SPTL | Coal
Codling Wind Park Ltd | Codling Park Wind Farm | Pentir Substation | 0 | 1000 | 1000 | 2018-12-31 | Scoping | NGET | Wind Offshore
SSE Renewables Developments (UK) Ltd | Coire Glas Pumped Storage | Coire Glas | 0 | 612 | 612 | 2022-10-31 | Awaiting Consents | SHE | Pump Storage
RockbySea Ltd | Coire Na Cloiche | Alness GSP | 0 | 30 | 30 | 2018-10-31 | Awaiting Consents | SHE | Wind Onshore
E.ON UK plc | Connahs Quay | Deeside | 1380 | 0 | 1380 |  | Built | NGET | CCGT
Corby Power Ltd | Corby | Corby 132kV substation | 401 | 0 | 401 |  | Built | NGET | CCGT
North British Windpower Ltd | Corriegarth | Corriegarth 132/33kV substation | 0 | 49.9 | 49.9 | 2015-10-31 | Consents Approved | SHE | Wind Onshore
North British Windpower Ltd | Corriegarth | Corriegarth 132/33kV substation | 0 | 19.1 | 69 | 2015-11-01 | Awaiting Consents | SHE | Wind Onshore
E.ON Climate & Renewables UK Developments Ltd | Corriemoillie Wind Farm | Corriemoillie 132/33kV Substation | 0 | 47.5 | 47.5 | 2016-10-31 | Consents Approved | SHE | Wind Onshore
Coryton Energy Company Ltd | Coryton | Coryton | 800 | 0 | 800 |  | Built | NGET | CCGT
SSE Renewables Developments (UK) Ltd | Costa Head, Westray South and Brough Head Phase 1 | Bay of Skaill 132/33kV substation | 0 | 130 | 130 | 2018-06-30 | Awaiting Consents | SHE | Wind Onshore
SSE Renewables Developments (UK) Ltd | Costa Head, Westray South and Brough Head Phase 2 | Bay of Skaill 132/33kV substation | 0 | 320 | 450 | 2020-10-31 | Awaiting Consents | SHE | Wave
EDF Energy (Cottam Power) Ltd | Cottam | Cottam 400kV Substation | 2000 | 0 | 2000 |  | Built | NGET | Coal
SSE Generation Ltd | Cour | Cour 132/33kV Substation | 0 | 23 | 23 | 2015-10-31 | Consents Approved | SHE | Wind Onshore
RWE NPower plc | Cowes | Fawley 400kV Substation | 145 | 0 | 145 |  | Built | NGET | OCGT
Crossburns Windfarm Ltd | Crossburns Wind Farm | Crossburns | 0 | 99 | 99 | 2018-10-31 | Scoping | SHE | Wind Onshore
Scottish Power Generation Ltd | Cruachan | Dalmally | 440 | 0 | 440 |  | Built | SPTL | Pump Storage
Crystal Rig II Ltd | Crystal Rig 2 | Crystal Rig | 138 | 0 | 138 |  | Built | SPTL | Wind Onshore
Crystal Rig II Ltd | Crystal Rig 2 | Crystal Rig | 138 | 62 | 200 | 2016-04-01 | Built | SPTL | Wind Onshore
SSE Generation Ltd | Culligran | Culligran | 19.1 | 0 | 19.1 |  | Built | SHE | Hydro
Falck Renewables Wind Ltd | Cumberhead | Cumberhead | 0 | 99 | 99 | 2019-10-20 | Scoping | SPTL | Wind Onshore
RWE NPower plc | Cwm Dyli | Trawfynydd | 10 | 0 | 10 |  | Built | NGET | Hydro
Statkraft Energy Ltd | Cwm Rheidol | Swansea North | 50 | 0 | 50 |  | Built | NGET | Hydro
SSE Renewables Developments (UK) Ltd | Dalnessie | Dalnessie Wind Farm Substation | 0 | 81 | 81 | 2018-10-31 | Scoping | SHE | Wind Onshore
Dalswinton Wind Farm (Scotland) Ltd | Dalswinton | Dumfries | 29.9 | 0 | 29.9 | 2007-12-31 | Built | SPTL | Wind Onshore
Scottish Power (DCL) Ltd | Damhead Creek | Kingsnorth | 805 | 0 | 805 |  | Built | NGET | CCGT
Scottish Power (DCL) Ltd | Damhead Creek II | Damhead Creek 400kV | 0 | 1200 | 1200 | 2016-07-31 | Consents Approved | NGET | CCGT
SSE Generation Ltd | Deanie | Deanie | 38 | 0 | 38 |  | Built | SHE | Hydro
Deeside Power Development Co Ltd | Deeside | Deeside 400kV Substation | 515 | 0 | 515 |  | Built | NGET | CCGT
ScottishPower Renewables (UK) Ltd | Dersalloch | Dersalloch | 0 | 69 | 69 | 2015-04-30 | Awaiting Consents | SPTL | Wind Onshore
Derwent Cogeneration Ltd | Derwent | Willington 132kV Substation | 0 | 0 | 0 |  | Built | NGET | CHP
RWE NPower plc | Didcot A | Didcot 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Large Unit Coal
RWE NPower plc | Didcot A GTs | Didcot 400kV Substation | 99.9 | 0 | 99.9 |  | Built | NGET | OCGT
RWE NPower plc | Didcot B | Didcot 400kV Substation | 1550 | 0 | 1550 |  | Built | NGET | CCGT
First Hydro Company | Dinorwig | Dinorwig 400kV Substation | 1644 | 0 | 1644 |  | Built | NGET | Pump Storage
Centrica (DSW) Ltd | Docking Shoal Wind Farm | Docking Shoal 132/33kV Offshore Substation | 0 | 500 | 500 | 2016-08-31 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 1A | N/A | 0 | 500 | 500 | 2017-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 1B | N/A | 0 | 500 | 1000 | 2018-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 2A | N/A | 0 | 500 | 500 | 2017-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 2B | N/A | 0 | 500 | 1000 | 2018-04-04 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 3A | N/A | 0 | 500 | 500 | 2018-04-04 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 3B | N/A | 0 | 500 | 1000 | 2019-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 4A | N/A | 0 | 500 | 500 | 2019-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 4B | N/A | 0 | 500 | 1000 | 2020-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 5A | N/A | 0 | 500 | 500 | 2019-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 5B | N/A | 0 | 500 | 1000 | 2020-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 6A | N/A | 0 | 500 | 500 | 2020-04-01 | Scoping | NGET | Wind Offshore
Forewind Ltd | Dogger Bank Platform 6B | N/A | 0 | 500 | 1000 | 2021-04-01 | Scoping | NGET | Wind Offshore
RWE NPower plc | Dolgarrog | Pentir | 39 | 0 | 39 |  | Built | NGET | Hydro
Infinergy Ltd | Dorenell Wind Farm | Dorenell | 0 | 220 | 220 | 2018-01-31 | Consents Approved | SHE | Wind Onshore
EON UK plc | Drakelow | Drakelow | 0 | 1320 | 1320 | 2017-02-22 | Consents Approved | NGET | CCGT
Drax Power Ltd | Drax | Drax | 3906 | 0 | 3906 |  | Built | NGET | Coal
Druim Leathann Windfarm Ltd | Druim Leathann | Druim Leathann 132/33kV substation | 0 | 39 | 39 | 2019-05-31 | Consents Approved | SHE | Wind Onshore
Dudgeon Offshore Wind Ltd | Dudgeon Offshore Wind Farm | Necton 400kV | 0 | 400 | 400 | 2016-10-31 | Consents Approved | NGET | Wind Offshore
SSE Generation Ltd | Dumnaglass Wind Farm | Beauly/Foyers | 0 | 98.5 | 98.5 | 2015-10-31 | Consents Approved | SHE | Wind Onshore
Dunbeath Wind Energy Ltd | Dunbeath Wind Farm (DNO) | Dunbeath | 55 | 0 | 55 | 2015-04-30 | Awaiting Consents | SHE | Wind Onshore | terminated
ScottishPower Renewables (UK) Ltd | Duncansby Tidal Array | Gills Bay 132/33kV Substation | 0 | 30 | 60 | 2019-04-01 | Scoping | SHE | Tidal
ScottishPower Renewables (UK) Ltd | Duncansby Tidal Array | Gills Bay 132/33kV Substation | 0 | 35 | 95 | 2020-04-01 | Scoping | SHE | Tidal
ScottishPower Renewables (UK) Ltd | Duncansby Tidal Array | Gills Bay 132/33kV Substation | 0 | 30 | 30 | 2018-06-30 | Scoping | SHE | Tidal
Nuclear Decommissioning Authority | Dungeness A | Dungeness 275kV Substation | 0 | 0 | 0 |  | Built | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Dungeness B | Dungeness 275kV Substation | 1081 | 0 | 1081 |  | Built | NGET | Nuclear
ScottishPower Renewables (UK) Ltd | Dunlaw Extension | Dunlaw Extension | 29.75 | 0 | 29.75 | 2009-04-23 | Built | SPTL | Wind Onshore
Wind Energy (Earslhaugh) Ltd | Earlshaugh Wind Farm | Earlshaugh 132/33kV Substation | 0 | 55 | 55 | 2017-06-30 | Awaiting Consents | SPTL | Wind Onshore
East Anglia Offshore Wind Ltd | East Anglia FIVE (Offshore Wind Farm 5A) | N/A | 0 | 500 | 500 | 2024-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia FIVE (Offshore Wind Farm 5B) | N/A | 0 | 500 | 500 | 2024-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia FOUR (Offshore Wind Farm 4A) | N/A | 0 | 600 | 600 | 2022-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia FOUR (Offshore Wind Farm 4B) | N/A | 0 | 600 | 600 | 2022-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia ONE (Offshore Wind Farm 1A) | N/A | 0 | 600 | 600 | 2018-04-01 | Awaiting Consents | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia ONE (Offshore Wind Farm 1B) | N/A | 0 | 600 | 600 | 2018-12-01 | Awaiting Consents | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia SIX (Offshore Wind Farm 6A) | N/A | 0 | 600 | 600 | 2025-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia SIX (Offshore Wind Farm 6B) | N/A | 0 | 600 | 600 | 2025-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia SIX (Offshore Wind Farm 6C) | N/A | 0 | 600 | 600 | 2026-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia THREE (Offshore Wind Farm 3A) | N/A | 0 | 600 | 600 | 2021-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia THREE (Offshore Wind Farm 3B) | N/A | 0 | 600 | 600 | 2021-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia TWO (Offshore Wind Farm 2A) | N/A | 0 | 400 | 400 | 2023-04-01 | Scoping | NGET | Wind Offshore
East Anglia Offshore Wind Ltd | East Anglia TWO (Offshore Wind Farm 2B) | N/A | 0 | 400 | 400 | 2023-04-01 | Scoping | NGET | Wind Offshore
Vattenfall Wind Power Ltd | Edinbane Wind, Skye | Edinbane | 41.4 | 0 | 41.4 | 2009-10-09 | Built | SHE | Wind Onshore
Eggborough Power Ltd | Eggborough | Eggborough 400kV Substation | 1940 | 0 | 1940 |  | Built | NGET | Coal
Beinn Mhor Power Ltd | Eishken Estate, Isle of Lewis | Stornoway 132/33kV Substation | 0 | 133 | 133 | 2016-10-31 | Consents Approved | SHE | Wind Onshore
E.ON UK plc | Enfield | Brimsdown | 408 | 0 | 408 |  | Built | NGET | CCGT
SSE Generation Ltd | Errochty | Errochty | 75 | 0 | 75 |  | Built | SHE | Hydro
Scottish Hydro Electric Power Distribution plc | Errol PV Generating Station | Abernethy GSP | 0 | 9.9 | 9.9 |  | Awaiting Consents | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Ewe Hill | Ewe Hill | 0 | 18 | 18 | 2016-06-30 | Awaiting Consents | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Ewe Hill | Ewe Hill | 0 | 48 | 66 | 2017-09-30 | Awaiting Consents | SPTL | Wind Onshore
SSE Renewables Developments (UK) Ltd | Fairburn Extension Wind Farm | Fairburn Extension 132/33kV substation | 0 | 36 | 36 | 2020-11-01 | Consents Approved | SHE | Wind Onshore
Fallago Rig Wind Farm Ltd | Fallago Rig Wind Farm | Fallago 400kV Substation | 144 | 0 | 144 |  | Built | SPTL | Wind Onshore
Farr Wind Farm Limited | Farr Wind Farm, Tomatin | Beauly | 92 | 0 | 92 |  | Built | SHE | Wind Onshore
SSE Generation Ltd | Fasnakyle G1 & G3 | Fasnakyle | 46 | 0 | 46 |  | Built | SHE | Hydro
SSE Generation Ltd | Fasnakyle G2 | Fasnakyle | 23 | 0 | 23 |  | Built | SHE | Hydro
SSE Generation Ltd | Fasnakyle G4 | Fasnakyle | 7.5 | 0 | 7.5 |  | Built | SHE | Hydro
RWE NPower plc | Fawley | Fawley 400kV Substation | 158 | 0 | 158 |  | Built | NGET | CHP
RWE NPower plc | Fawley | Fawley 400kV Substation | 75 | 0 | 75 |  | Built | NGET | Oil + AGT
Keadby Generation Ltd | Ferrybridge C | Ferrybridge | 1986 | -972 | 1014 | 2014-04-01 | Built | NGET | Coal
First Hydro Company | Ffestiniog | Ffestiniog 275kV Substation | 360 | 0 | 360 |  | Built | NGET | Pump Storage
Keadby Generation Ltd | Fiddlers Ferry | Fiddlers Ferry | 1987 | 0 | 1987 |  | Built | NGET | Coal
SSE Generation Ltd | Fife Energy | Westfield | 0 | 0 | 0 |  | Built | SPTL | CHP
SSE Generation Ltd | Finlarig | Finlarig | 16.5 | 0 | 16.5 |  | Built | SHE | Hydro
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 1A | N/A | 0 | 545 | 545 | 2018-06-22 | Awaiting Consents | SHE | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 1B | N/A | 0 | 530 | 1075 | 2018-06-22 | Awaiting Consents | SHE | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2A East & 2A West | N/A | 0 | 605 | 1680 | 2021-04-01 | Scoping | SPTL | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2B East & 2B West | N/A | 0 | 610 | 2290 | 2021-04-01 | Scoping | SPTL | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2C East & 2C West | N/A | 0 | 610 | 2900 | 2021-04-01 | Scoping | SPTL | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 3A East | N/A | 0 | 565 | 3465 | 2023-04-01 | Scoping | SPTL | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 3B West | N/A | 0 | 225 | 3690 | 2023-04-01 | Scoping | SPTL | Wind Offshore
Heartlands Power Ltd | Fort Dunlop | Dunlop 132kV substation | 99 | 0 | 99 |  | Built | NGET | OCGT
SSE Generation Ltd | Foyers | Foyers | 300 | 0 | 300 |  | Built | SHE | Pump Storage
Galawhistle Wind Farm Ltd | Galawhistle Wind Farm | Galawhistle Wind Farm | 0 | 55.2 | 55.2 | 2016-09-30 | Consents Approved | SPTL | Wind Onshore
SSE Renewables (Galloper) No.1 Ltd | Galloper | N/A | 0 | 184 | 184 | 2016-06-19 | Consents Approved | NGET | Wind Offshore
SSE Renewables (Galloper) No.1 Ltd | Galloper | N/A | 0 | 156 | 340 | 2016-10-31 | Consents Approved | NGET | Wind Offshore
InterGen (UK) Ltd | Gateway Energy Centre Power Station | Coryton South 400kV Substation | 0 | 1000 | 1000 | 2017-10-31 | Consents Approved | NGET | CCGT
Fibrogen Ltd | Glanford | Keadby | 15 | 0 | 15 |  | Built | NGET | Thermal
ScottishPower Renewables (UK) Ltd | Glen App Windfarm | Glen App and Loch Ree 132/33kV Substation | 0 | 51 | 51 | 2018-06-30 | Scoping | SPTL | Wind Onshore
Scottish Power Renewables (UK) Ltd | Glen App Windfarm | Glen App and Loch Ree 132/33kV Substation | 0 | 32.2 | 32.2 | 2016-10-31 | Awaiting Consents | SPTL | Wind Onshore
RWE NPower Renewables Ltd | Glen Kyllachy Wind Farm | Kyllachy Wind Farm | 0 | 48.5 | 48.5 | 2018-10-31 | Awaiting Consents | SHE | Wind Onshore
Kilmac Energy | Glen Ullinish Wind Farm | Glen Ullinish 132/33kV Substation | 0 | 42 | 42 | 2021-10-31 | Scoping | SHE | Wind Onshore
RES UK & Ireland Ltd | Glenchamber Wind Farm | Glenluce | 0 | 25.3 | 25.3 | 2016-05-31 | Scoping | SPTL | Wind Onshore
RES UK & Ireland Ltd | Glenchamber Wind Farm | Glenluce | 0 | 4.6 | 29.9 | 2022-08-30 | Scoping | SPTL | Wind Onshore
SSE Generation Ltd | Glendoe | Fort Augustus | 99.9 | 0 | 99.9 | 2013-04-01 | Built | SHE | Hydro
Wind Energy (Glenmorie) Ltd | Glenmorie Windfarm | Glenmorie 132kV/33kV substation | 0 | 114 | 114 | 2018-10-31 | Awaiting Consents | SHE | Wind Onshore
SSE Generation Ltd | Glenmoriston | Glenmoriston | 37 | 0 | 37 |  | Built | SHE | Hydro
RWE NPower Renewables Ltd | Glenmount Wind Farm | Glenmount | 0 | 73 | 73 | 2019-07-30 | Scoping | SPTL | Wind Onshore
Glens of Foudland Wind Farm Ltd | Glens of Foudland Wind (SRO) | Keith | 26 | 0 | 26 |  | Built | SHE | Wind Onshore
RWE NPower Renewables Ltd | Goole Fields Wind farm | Camblesforth 66kV Substation | 32 | 0 | 32 | 2012-11-01 | Built | NGET | Wind Onshore
SSE Generation Ltd | Gordonbush Wind | Gordonbush | 70 | 0 | 70 |  | Built | SHE | Wind Onshore
E.ON UK plc | Grain | Grain | 1524 | 0 | 1524 | 2013-04-01 | Built | NGET | CCGT
RWE NPower plc | Great Yarmouth | Norwich Main 132kV Substation | 405 | 0 | 405 |  | Built | NGET | CCGT
Greater Gabbard Offshore Winds Ltd | Greater Gabbard Offshore Wind Farm | Gabbard 33/132kV Offshore Substation | 500 | 0 | 500 | 2009-10-01 | Built | NGET | Wind Offshore
Greenwire Ltd | Greenwire Wind Farm - Pembroke | Pembroke 400kV Substation | 0 | 2000 | 2000 | 2017-08-31 | Scoping | NGET | Wind Onshore
Greenwire Ltd | Greenwire Wind Farm - Pentir | Pentir 400kV Substation | 0 | 1000 | 1000 | 2018-12-31 | Scoping | NGET | Wind Onshore
SSE Generation Ltd | Griffin Wind Farm | Errochty / Burghmuir | 188.6 | 0 | 188.6 |  | Built | SHE | Wind Onshore
SSE Generation Ltd | Griffin Wind Farm | Errochty / Burghmuir | 188.6 | 15.4 | 204 | 2016-04-01 | Awaiting Consents | SHE | Wind Onshore
Gunfleet Sands II Ltd | Gunfleet Sands II Offshore Wind Farm | N/A | 64 | 0 | 64 | 2009-04-01 | Built | NGET | Wind Offshore
Gunfleet Sands Ltd | Gunfleet Sands Offshore Wind Farm | N/A | 99.9 | 0 | 99.9 | 2009-04-01 | Built | NGET | Wind Offshore
Gwynt Y Mor Offshore Wind Farm Ltd | Gwynt Y Mor Offshore Wind Farm - Stage 3 | Gwynt y Mor 132/33kV Offshore Substation | 420 | 145 | 565 | 2014-04-01 | Under Construction/Commissioning | NGET | Wind Offshore
SSE Generation Ltd | Hadyard Hill | Maybole | 117 | 0 | 117 |  | Built | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Halsary Wind Farm | Mybster 132/33kV Substation | 0 | 28.5 | 28.5 | 2013-10-09 | Scoping | SPTL | Wind Onshore
Gamesa Energy UK Ltd | Harelaw | Harelaw 132/33kV Substation | 0 | 80 | 80 | 2015-10-21 | Awaiting Consents | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Harestanes | Harestanes | 0 | 17.3 | 163.3 | 2016-04-01 | Under Construction/Commissioning | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Harestanes | Harestanes | 111 | 0 | 111 | 2013-09-16 | Built | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Harestanes | Harestanes | 0 | 15 | 126 | 2014-04-01 | Under Construction/Commissioning | SHE | Wind Onshore
ScottishPower Renewables (UK) Ltd | Harestanes | Harestanes | 0 | 20 | 146 | 2015-04-01 | Under Construction/Commissioning | SHE | Wind Onshore
EDF Energy Nuclear Generation Ltd | Hartlepool | Hartlepool 275kV Substation | 1207 | 0 | 1207 |  | Built | NGET | Nuclear
2Co Power (Yorkshire) Ltd | Hatfield Power Station | Thorpe Marsh 400kV Substation | 0 | 800 | 800 | 2016-04-30 | Consents Approved | NGET | IGCC with CCS
EDF Energy Nuclear Generation Ltd | Heysham Power Station | Heysham | 2433 | 0 | 2433 | 2000-01-01 | Built | NGET | Nuclear
Hill of Towie Ltd | Hill of Towie/Drummuir | Keith | 48.3 | 0 | 48.3 | 2011-10-31 | Built | SHE | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Hillhead | Strichen | 0 | 0 | 0 | 2012-03-31 | Scoping | SHE | Hydro
EDF Energy Nuclear Generation Ltd | Hinkley Point B | Hinkley Point 275kV Substation | 1261 | 0 | 1261 |  | Built | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Hinkley Point C (Stage 1) | Hinkley 400kV Substation | 0 | 1670 | 1670 | 2019-10-31 | Consents Approved | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Hinkley Point C (Stage 2) | Hinkley 400kV Substation | 1670 | 1670 | 3340 | 2021-06-30 | Consents Approved | NGET | Nuclear
Heron Wind Ltd | Hornsea Offshore Wind Farm - Platform 1A | N/A | 0 | 500 | 500 | 2016-08-01 | Scoping | NGET | Wind Offshore
Njord Ltd | Hornsea Offshore Wind Farm - Platform 1B | N/A | 0 | 500 | 500 | 2017-03-31 | Scoping | NGET | Wind Offshore
SMart Wind Ltd | Hornsea Offshore Wind Farm - Platform 2A | N/A | 0 | 500 | 500 | 2017-04-01 | Scoping | NGET | Wind Offshore
SMart Wind Ltd | Hornsea Offshore Wind Farm - Platform 2B | N/A | 0 | 500 | 500 | 2018-04-01 | Scoping | NGET | Wind Offshore
SMart Wind Ltd | Hornsea Platform 3A | N/A | 0 | 500 | 500 | 2020-10-01 | Scoping | NGET | Wind Offshore
SMart Wind Ltd | Hornsea Platform 3B | N/A | 0 | 500 | 500 | 2021-10-01 | Scoping | NGET | Wind Offshore
SMart Wind Ltd | Hornsea Platform 4A | N/A | 0 | 500 | 500 | 2022-07-01 | Scoping | NGET | Wind Offshore
SMart Wind Ltd | Hornsea Platform 4B | N/A | 0 | 500 | 500 | 2023-07-01 | Scoping | NGET | Wind Offshore
E.ON Climate & Renewables UK Humber Wind Ltd | Humber Gateway Offshore Wind Farm | Hedon | 0 | 220 | 220 | 2014-04-01 | Under Construction/Commissioning | NGET | Wind Offshore
EDF Energy Nuclear Generation Ltd | Hunterston | Hunterston 400kV Substation | 1074 | 0 | 1074 |  | Built | SPTL | Nuclear
Immingham CHP LLP | Immingham | Humber Refinery 400kV Substation | 1218 | 0 | 1218 |  | Built | NGET | CHP
Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm | Inch Cape Offshore Platform 1, 2 & 3 | 0 | 330 | 330 | 2017-10-01 | Scoping | SPTL | Wind Offshore
Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm | Inch Cape Offshore Platform 1, 2 & 3 | 0 | 360 | 690 | 2018-10-01 | Scoping | SPTL | Wind Offshore
Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm | Inch Cape Offshore Platform 1, 2 & 3 | 0 | 360 | 1050 | 2019-10-01 | Scoping | SPTL | Wind Offshore
AES Indian Queens Power Ltd | Indian Queens | Indian Queens 400kV Substation | 140 | 0 | 140 |  | Built | NGET | CCGT
SSE Generation Ltd | Invergarry | Invergarry | 20 | 0 | 20 |  | Built | SHE | Hydro
Energy Bridge Transmission Ltd | Irish Bridge Tranche 1 - Pembroke | Pembroke | 0 | 1000 | 1000 | 2017-10-31 | Scoping | NGET | Wind Offshore
Energy Bridge Transmission Ltd | Irish Bridge Tranche 1 - Pembroke | Pembroke | 0 | 300 | 1300 | 2020-10-31 | Scoping | NGET | Wind Offshore
Energy Bridge Transmission Ltd | Irish Bridge Tranche 1 - Pembroke | Pembroke | 0 | 600 | 1900 | 2020-10-31 | Scoping | NGET | Wind Offshore
Energy Bridge Transmission Ltd | Irish Bridge Tranche 1 - Pembroke | Pembroke | 0 | 600 | 2500 | 2022-10-31 | Scoping | NGET | Wind Offshore
Energy Bridge Transmission Ltd | Irish Bridge Tranche 2 - Alverdiscott | Alverdiscott | 0 | 1400 | 1400 | 2018-10-31 | Scoping | NGET | Wind Offshore
Energy Bridge Transmission Ltd | Irish Bridge Tranche 2 - Alverdiscott | Alverdiscott | 0 | 1000 | 2400 | 2020-10-31 | Scoping | NGET | Wind Offshore
Energy Bridge Transmission Ltd | Irish Bridge Tranche 2 - Alverdiscott | Alverdiscott | 0 | 100 | 2500 | 2022-10-31 | Scoping | NGET | Wind Offshore
E.ON UK plc | Ironbridge | Ironbridge | 964 | 0 | 964 | 2013-04-01 | Built | NGET | Coal
Keadby Generation Ltd | Keadby | Keadby | 735 | 0 | 735 |  | Built | NGET | CCGT
Keadby Generation Ltd | Keadby II | Keadby | 0 | 710 | 710 | 2016-11-30 | Awaiting Consents | NGET | CCGT
Grovehurst Energy | Kemsley | Kemsley | 35.8 | 0 | 35.8 |  | Built | NGET | CHP
PNE Wind UK Ltd | Kennoxhead Wind Farm | Kennoxhead | 0 | 59.8 | 59.8 | 2019-10-20 | Awaiting Consents | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Kilgallioch | Kilgallioch 132/33kV Substation | 0 | 274 | 274 | 2015-11-20 | Consents Approved | SPTL | Wind Onshore
E.ON UK plc | Killingholme | Killingholme | 900 | 0 | 900 |  | Built | NGET | CCGT
Centrica Generation Ltd | Killingholme 2 | Killingholme | 665 | 0 | 665 |  | Built | NGET | CCGT
SSE Generation Ltd | Kilmorack | Kilmorack | 20 | 0 | 20 |  | Built | SHE | Hydro
Centrica KL Ltd | Kings Lynn A | Walpole 132kV Substation | 99 | 0 | 99 |  | Built | NGET | CCGT
Centrica KL Ltd | Kings Lynn B | Kings Lynn B 400kV Substation | 0 | 981 | 981 | 2017-10-31 | Consents Approved | NGET | CCGT
E.ON UK plc | Kingsnorth | Kingsnorth | 0 | 0 | 0 |  | Built | NGET | Coal
Knottingley Power Limited | Knottingley Power Station | Knottingley | 0 | 1500 | 1500 | 2018-10-31 | Awaiting Consents | NGET | CCGT
Banks Group Ltd | Kype Muir | Coalburn Substation | 0 | 99.9 | 99.9 | 2019-05-31 | Awaiting Consents | SPTL | Wind Onshore
Lewis Wind Power Ltd | Lag Na Greine Phase 1 | Siadar | 0 | 10 | 10 | 2019-05-31 | Consents Approved | SHE | Wave
Lewis Wind Power Ltd | Lag Na Greine Phase 2 | Siadar | 0 | 10 | 20 | 2020-04-30 | Consents Approved | SHE | Wave
Lewis Wind Power Ltd | Lag Na Greine Phase 3 | Siadar | 0 | 20 | 40 | 2021-04-30 | Consents Approved | SHE | Wave
Centrica Langage Ltd | Langage | Langage 400kV Substation | 905 | 0 | 905 |  | Built | NGET | CCGT
Infinergy Ltd | Limekilns | Limekilns 132/33kV substation | 0 | 90 | 90 | 2020-10-31 | Scoping | SHE | Wind Onshore
Lincs Wind Farm Ltd | Lincs Offshore Wind Farm | Walpole 132kV Substation | 250 | 0 | 250 | 2011-07-01 | Built | NGET | Wind Offshore
RWE NPower plc | Little Barford | Eaton Socon 400kV Substation | 740 | 0 | 740 | 2012-04-01 | Built | NGET | CCGT
RWE NPower plc | Littlebrook | Littlebrook 400kV Substation | 800 | 0 | 800 |  | Built | NGET | Oil + AGT
SSE Generation Ltd | Livishie | Glenmoriston | 15 | 0 | 15 |  | Built | SHE | Hydro
Loch Hill Windfarm (Scotland) Ltd | Loch Hill Wind Farm | Loch Hill 33kV Substation | 0 | 27 | 27 | 2017-04-02 | Awaiting Consents | SPTL | Wind Onshore
E.ON Climate & Renewables UK Developments Ltd | Loch Urr | Loch Urr | 0 | 84 | 84 |  | Awaiting Consents | SPTL | Wind Onshore
SSE Generation Ltd | Lochay | Lochay | 47 | 0 | 47 |  | Built | SHE | Hydro
LZN Ltd | Lochluichart | Corriemoillie | 0 | 69 | 69 | 2013-10-31 | Under Construction/Commissioning | SHE | Wind Onshore
London Array Ltd | London Array Stages 1- 4 | London Array 33/150kV Offshore Substation | 630 | 0 | 630 | 2012-06-29 | Built | NGET | Wind Offshore
London Array Ltd | London Array Stage 5 | London Array 33/150kV Offshore Substation | 630 | 204 | 834 | 2016-10-31 | Scoping | NGET | Wind Offshore
Scottish Power Generation Ltd | Longannet | Longannet | 2260 | 0 | 2260 |  | Built | SPTL | Coal
SSE Generation Ltd | Luichart | Luichart | 34 | 0 | 34 |  | Built | SHE | Hydro
BP (CHP) Ltd | Lynes Common | Fawley 400kV Substation | 49.9 | 0 | 49.9 |  | Built | NGET | OCGT
Nuclear Decommissioning Authority | Maentwrog | N/A | 30 | 0 | 30 |  | Built | NGET | Hydro
Marchwood Power Ltd | Marchwood | Marchwood 400kV Substation | 900 | 0 | 900 |  | Built | NGET | CCGT
Organic Power Ltd | Marex | Connahs Quay 400kV | 0 | 1500 | 1500 | 2018-10-31 | Scoping | NGET | Pump Storage
NBW Wind Energy Ltd | Margree | Margree 132/33kV Substation | 0 | 42.5 | 42.5 | 2016-07-31 | Scoping | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Mark Hill Wind Farm | Mark Hill | 56 | 0 | 56 | 2013-03-01 | Built | SPTL | Wind Onshore
RWE Npower Renewables (Markinch Ltd) | Markinch Biomass CHP Plant | Glenrothes | 0 | 55 | 55 | 2013-10-11 | Under Construction/Commissioning | SPTL | Biomass
ScottishPower Renewables (UK) Ltd | Marwick Head Wave Farm | Bay of Skaill | 0 | 13.5 | 22.5 | 2019-06-30 | Scoping | SHE | Wave
ScottishPower Renewables (UK) Ltd | Marwick Head Wave Farm | Bay of Skaill | 0 | 26.5 | 49 | 2020-06-30 | Scoping | SHE | Wave
ScottishPower Renewables (UK) Ltd | Marwick Head Wave Farm | Bay of Skaill | 0 | 9 | 9 | 2018-06-20 | Scoping | SHE | Wave
Medway Power Ltd | Medway Power Station | Grain | 700 | 0 | 700 |  | Built | NGET | CCGT
MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 222 | 222 | 2018-10-31 | Awaiting Consents | SHE | Tidal
MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 15 | 237 | 2019-10-31 | Awaiting Consents | SHE | Tidal
SP Manweb | Mid Wales West | Mid Wales West 132kV Substation | 0 | 480 | 480 | 2019-10-31 | Scoping | NGET | Wind Onshore
GreenPower International | Millenderdale Wind Farm | Mark Hill | 0 | 21 | 21 | 2018-07-01 | Scoping | SPTL | Wind Onshore
Falck Renewables Wind Ltd | Millennium South | Millennium South 132/33kV Substation | 0 | 25 | 25 | 2016-04-01 | Awaiting Consents | SHE | Wind Onshore
Falck Renewables Wind Ltd | Millennium South | Millennium South 132/33kV Substation | 0 | 25 | 50 | 2021-10-01 | Awaiting Consents | SHE | Wind Onshore
Millennium Wind Energy Ltd | Millennium Wind (Stage 3), Ceannacroc | Millennium | 65 | 0 | 65 | 2010-12-16 | Built | SHE | Wind Onshore
Minsca Wind Farm (Scotland) Ltd | Minsca | Chapelcross | 37.5 | 0 | 37.5 | 2007-12-31 | Built | SPTL | Wind Onshore
NuGeneration Ltd | Moorside (Stage 1) | Sellafield 400kV Substation | 0 | 1600 | 1600 | 2023-10-31 | Scoping | NGET | Nuclear EPR
NuGeneration Ltd | Moorside (Stage 1) | Sellafield 400kV Substation | 1600 | 1600 | 3200 | 2025-10-31 | Scoping | NGET | Nuclear EPR
Moray Offshore Renewables Ltd | Moray Firth Offshore Wind Farm | Moray North 33/220kV Offshore Substation | 0 | 780 | 780 | 2018-10-31 | Awaiting Consents | SHE | Wind Offshore
Moray Offshore Renewables Ltd | Moray Firth Offshore Wind Farm | Moray North 33/220kV Offshore Substation | 0 | 360 | 1140 | 2019-10-31 | Awaiting Consents | SHE | Wind Offshore
Moray Offshore Renewables Ltd | Moray Firth Offshore Wind Farm | Moray North 33/220kV Offshore Substation | 0 | 360 | 1500 | 2020-10-31 | Awaiting Consents | SHE | Wind Offshore
SSE Generation Ltd | Mossford | Mossford | 18.66 | 0 | 18.66 |  | Built | SHE | Hydro
SSE Generation Ltd | Nant | Nant | 15 | 0 | 15 |  | Built | SHE | Hydro
Navitus Bay Development Ltd | Navitus Bay Offshore Wind Project Platform 1 | N/A | 0 | 400 | 400 | 2017-09-12 | Scoping | NGET | Wind Offshore
Navitus Bay Development Ltd | Navitus Bay Offshore Wind Project Platform 2 | N/A | 0 | 400 | 800 | 2018-10-21 | Scoping | NGET | Wind Offshore
Navitus Bay Development Ltd | Navitus Bay Offshore Wind Project Platform 3 | N/A | 0 | 400 | 1200 | 2019-12-19 | Scoping | NGET | Wind Offshore
Neart Na Gaoithe Offshore Wind Ltd | Neart Na Goaithe Offshore Wind Farm | N/A | 0 | 450 | 450 | 2016-12-31 | Scoping | NGET | Wind Offshore
Wind Energy (Newfield) Ltd | Newfield Wind Farm | Ewe Hill | 0 | 52.5 | 52.5 | 2016-06-30 | Awaiting Consents | SPTL | Wind Onshore
Nuclear Decommissioning Authority | Oldbury | Oldbury-on-Severn 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Nuclear
Horizon Nuclear Power Oldbury Ltd | Oldbury C | Oldbury-on-Severn 400kV Substation | 0 | 1600 | 1600 | 2023-10-31 | Scoping | NGET | Nuclear
Horizon Nuclear Power Oldbury Ltd | Oldbury-on-Severn | Oldbury-on-Severn 400kV Substation | 0 | 1600 | 1600 | 2020-04-01 | Scoping | NGET | Nuclear
Scottish Hydro Electric Power Distribution plc | Orkney GSP | Orkney | 0 | 0 | 0 | 2018-04-30 | Awaiting Consents | SHE | Wind Onshore
Ormonde Energy Ltd | Ormonde Offshore Wind Farm | Ormonde Energy 33/132kV Offshore Substation | 150 | 0 | 150 | 2011-04-02 | Built | NGET | Wind Offshore
SSE Generation Ltd | Orrin | Orrin | 18 | 0 | 18 |  | Built | SHE | Hydro
RWE NPower plc | Pembroke Power Station | Pembroke 400kV Substation | 2199 | 0 | 2199 |  | Built | NGET | CHP
NBW Wind Energy Ltd | Pencloe | Pencloe 132/33kV | 0 | 63 | 63 | 2016-09-30 | Awaiting Consents | SPTL | Wind Onshore
Pencloe Wind Energy Ltd | Pencloe Windfarm | Pencloe 132/33kV | 0 | 96 | 96 |  | Awaiting Consents | SPTL | Wind Onshore
Centrica PB Ltd | Peterborough | Walpole 132kV Substation | 245 | 0 | 245 |  | Built | NGET | CCGT
SSE Generation Ltd | Peterhead | Peterhead | 1180 | -780 | 400 | 2014-04-01 | Built | SHE | CCGT
SSE Generation Ltd | Pitlochry | Pitlochry | 15 | 0 | 15 |  | Built | SHE | Hydro
Progress Power Ltd | Progress Power Station | Eye 400kV Substation | 0 | 299 | 299 | 2019-10-29 | Awaiting Consents | NGET | CCGT
SSE Generation Ltd | Quoich | Quoich | 18 | 0 | 18 |  | Built | SHE | Hydro
Centrica (RBW) Ltd | Race Bank Wind Farm | Race Bank 132/33lV Substation | 0 | 500 | 500 | 2015-04-30 | Consents Approved | NGET | Wind Offshore
E.ON Climate & Renewables UK Rampion Offshore Wind Ltd | Rampion | Rampion | 0 | 332 | 664 | 2016-10-31 | Scoping | NGET | Wind Offshore
E.ON Climate & Renewables UK Rampion Offshore Wind Ltd | Rampion | Rampion | 0 | 332 | 332 | 2015-10-31 | Scoping | NGET | Wind Offshore
E.ON UK plc | Ratcliffe on Soar | Ratcliffe | 2021 | 0 | 2021 |  | Built | NGET | Coal
Cinergy Global Power (UK) Ltd | Redditch | Feckenham | 29 | 0 | 29 |  | Built | NGET | CCGT
Pen Y Cymoedd Wind Farm Ltd | Rhigos | Rhigos | 0 | 228 | 228 | 2016-08-01 | Consents Approved | NGET | Wind Onshore
E.ON UK Renewables UK Robin Rigg East Ltd | Robin Rigg East | Robin Rigg East 132/33kV Offshore Substation | 92 | 0 | 92 | 2009-04-01 | Built | NGET | Wind Offshore
E.ON UK Renewables UK Robin Rigg West Ltd | Robin Rigg West | Robin Rigg West 132/33kV Offshore Substation | 92 | 0 | 92 | 2009-04-01 | Built | NGET | Wind Offshore
Rocksavage Power Company Ltd | Rocksavage | Rocksavage | 810 | 0 | 810 | 2009-04-01 | Built | NGET | CCGT
Centrica RPS Ltd | Roosecote | Hutton 132kV Substation | 99 | 0 | 99 |  | Built | NGET | CCGT
RWE NPower Renewables Ltd | Rowantree Wind Farm | Rowantree 132kV Substation | 0 | 60 | 60 | 2016-07-31 | Awaiting Consents | SPTL | Wind Onshore
Rugeley Power Ltd | Rugeley | Rugeley | 1018 | 0 | 1018 |  | Built | NGET | Coal
Scottish Power Generation Ltd | Rye House | Rye House | 715 | 0 | 715 |  | Built | NGET | CCGT
WKN Sallachy Ltd | Sallachy Wind Farm | Sallachy 132kV Substation | 0 | 66 | 66 | 2018-10-31 | Awaiting Consents | SHE | Wind Onshore
Saltend Cogeneration Company Ltd | Saltend | Saltend South 400kV Substation | 1100 | 0 | 1100 |  | Built | NGET | CCGT
Seabank Power Ltd | Seabank | Seabank 400kV Substation | 1234 | 0 | 1234 |  | Built | NGET | CCGT
Seabank Power Ltd | Seabank 3 | Seabank 400kV Substation | 0 | 1200 | 1200 | 2019-10-31 | Scoping | NGET | CCGT
Nuclear Decommissioning Authority | Sellafield | Hutton 132kV Substation | 155 | 0 | 155 |  | Built | NGET | CHP
Severn Power Ltd | Severn Power | Uskmouth 275kV Substation | 850 | 0 | 850 |  | Built | NGET | CCGT
Scira Offshore Energy Ltd | Sheringham Shoal - Substation 1 | Sheringham Shoal Offshore Substation 1 | 157.5 | 0 | 157.5 |  | Built | NGET | Wind Offshore
Scira Offshore Energy Ltd | Sheringham Shoal - Substation 2 | Sheringham Shoal Offshore Substation 2 | 157.5 | 0 | 157.5 |  | Built | NGET | Wind Offshore
Scottish Power (SCPL) Ltd | Shoreham | Bolney | 420 | 0 | 420 |  | Built | NGET | CCGT
GDF Suez Shotton Ltd | Shotton | Deeside 400kV Substation | 0 | 0 | 0 |  | Built | NGET | CHP
Northern Powergrid (Yorkshire) plc | Sixpenny Wood | Drax | 20 | 0 | 20 |  | Built | NGET | Wind Onshore
Nuclear Decommissioning Authority | Sizewell A | Sizewell 132kV Substation | 0 | 0 | 0 | 2007-04-01 | Built | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Sizewell B | Sizewell 132kV Substation | 1212 | 0 | 1212 |  | Built | NGET | Nuclear APR
EDF Energy Nuclear Generation Ltd | Sizewell C (Stage 1) | Sizewell North 400kV Substation | 0 | 1670 | 1670 | 2020-03-01 | Scoping | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Sizewell C (Stage 2) | Sizewell North 400kV Substation | 0 | 1670 | 3340 | 2021-09-01 | Scoping | NGET | Nuclear
SSE Generation Ltd | Sloy G1 and G4 | Sloy | 72.5 | 0 | 72.5 |  | Built | SHE | Hydro
SSE Generation Ltd | Sloy G2 and G3 | Sloy | 80 | 0 | 80 |  | Built | SHE | Hydro
ScottishPower Renewables (UK) Ltd | Sound of Islay Tidal | Islay | 0 | 10 | 10 | 2013-10-31 | Consents Approved | SHE | Tidal
Qatar Petroleum International Ltd | South Hook CHP Plant | Pembroke 400kV Substation | 0 | 490 | 490 | 2016-10-31 | Scoping | NGET | CHP
Humber Power Ltd | South Humberbank | South Humberbank | 1285 | 0 | 1285 |  | Built | NGET | CCGT
Vattenfall Wind Power Ltd | South Kyle | New Cummock | 0 | 165 | 165 | 2018-04-30 | Awaiting Consents | SPTL | Wind Onshore
Uisenis Power Ltd | South Muaitheabhal Wind Farm | Muaitheabhal 132/33kV Substation | 0 | 150 | 150 | 2019-05-31 | Consents Approved | SHE | Wind Onshore
Spalding Energy Company Ltd | Spalding | Spalding | 880 | 0 | 880 |  | Built | NGET | CCGT
InterGen (UK) Ltd | Spalding Energy Expansion | Spalding North 400kV Substation | 0 | 920 | 920 | 2017-10-31 | Consents Approved | NGET | CCGT
Spittal Hill Wind Farm Ltd | Spittal Hill Wind Farm | Spittal Hill Wind Farm 132/33kV Substation | 0 | 21 | 21 | 2018-10-31 | Awaiting Consents | SHE | Wind Onshore
RWE NPower Renewables (Stallingborough) Ltd | Stallingborough | Stallingborough 132kV Substation | 0 | 70 | 70 | 2015-06-01 | Consents Approved | NGET | Biomass
RWE NPower plc | Staythorpe C | Staythorpe | 1728 | 0 | 1728 |  | Built | NGET | CCGT
Lewis Wind Power Ltd | Stornoway Wind Farm | Stornoway 132/33kV Substation | 0 | 129.6 | 129.6 | 2021-10-31 | Awaiting Consents | SHE | Wind Onshore
Kilbraur Wind Energy Ltd | Strath Brora Wind, Brora | Strath Brora | 67 | 0 | 67 | 2011-05-16 | Built | SHE | Wind Onshore
SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South | 0 | 150 | 226 | 2015-10-31 | Awaiting Consents | SHE | Wind Onshore
SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South | 0 | 76 | 76 | 2015-04-01 | Awaiting Consents | SHE | Wind Onshore
E.ON Climate & Renewables UK Developments Ltd | Strathy Wood | Strathy Wood | 0 | 84 | 84 | 2020-10-31 | Awaiting Consents | SHE | Wind Onshore
SSE Renewables Developments (UK) Ltd | Stronelairg | Stronelairg 132/133kV Substation | 0 | 241.2 | 241.2 | 2018-10-31 | Scoping | SHE | Wind Onshore
Sutton Bridge Power Generation | Sutton Bridge | Walpole | 819 | 0 | 819 |  | Built | NGET | CCGT
SSE Renewables Ltd | Tangy III Wind Farm | Carradale | 0 | 39.1 | 39.1 | 2016-10-31 | Awaiting Consents | SHE | Wind Onshore
E.ON UK plc | Taylors Lane | Willesden | 144 | 0 | 144 |  | Built | NGET | CCGT
MGT Teesside Ltd | Tees Renewable Energy Plant | Teesside Power Station | 0 | 280 | 280 | 2016-04-01 | Consents Approved | NGET | Biomass
Teesside Power Ltd | Teesside | Greystones 275kV Substation | 0 | 0 | 0 | 2013-04-01 | Built | NGET | Pump Storage
Thanet Offshore Wind Ltd | Thanet Offshore Windfarm | EDF Energy Netwroks (SPN): Richborough 132kV Substation | 300 | 0 | 300 | 2011-07-15 | Built | NGET | Wind Offshore
Fibrothetford Ltd | Thetford | Bramford 400kV | 41 | 0 | 41 |  | Built | NGET | Thermal
Thorpe Marsh Power Ltd | Thorpe Marsh | Thorpe Marsh | 0 | 1200 | 1200 | 2017-10-31 | Consents Approved | NGET | CCGT
RWE NPower plc | Tilbury B | Tilbury 275kV Substation | 810 | -810 | 0 | 2014-04-01 | Built | NGET | Coal
RWE NPower plc | Tilbury C | Tilbury 400kV Substation | 0 | 1800 | 1800 | 2019-10-31 | Awaiting Consents | NGET | CCGT
SSE Toddleburn Ltd | Toddleburn Wind Farm | Toddleburn Wind Farm | 36 | -8.4 | 27.6 | 2009-08-21 | Built | SPTL | Wind Onshore
Infinergy Ltd | Tom Na Clach | Tom Na Clach 132/33KV Substation | 0 | 75 | 75 | 2018-10-31 | Consents Approved | SHE | Wind Onshore
EDF Energy Nuclear Generation Ltd | Torness | Torness | 1215 | 0 | 1215 |  | Built | SPTL | Nuclear
Wainstones Energy Ltd | Trafford Power - Stage 1 | Carrington 400kV | 0 | 570 | 570 | 2016-10-31 | Awaiting Consents | NGET | CCGT
Wainstones Energy Ltd | Trafford Power - Stage 2 | Carrington 400kV | 0 | 950 | 1520 | 2018-10-31 | Awaiting Consents | NGET | CCGT
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | N/A | 0 | 200 | 200 | 2018-05-01 | Scoping | NGET | Wind Offshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | N/A | 0 | 200 | 400 | 2019-04-01 | Scoping | NGET | Wind Offshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | N/A | 0 | 200 | 600 | 2021-05-01 | Scoping | NGET | Wind Offshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | N/A | 0 | 200 | 800 | 2022-04-01 | Scoping | NGET | Wind Offshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | N/A | 0 | 200 | 1000 | 2024-05-01 | Scoping | NGET | Wind Offshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | N/A | 0 | 200 | 1200 | 2025-04-01 | Scoping | NGET | Wind Offshore
Eneco Wind UK Ltd | Tullo 2 Wind Farm | Fiddes GSP | 0 | 12.5 | 25 | 2015-11-01 | Under Construction/Commissioning | SHE | Wind Onshore
Eneco Wind UK Ltd | Tullo Expansion | Bridge of Dun | 0 | 25 | 25 | 2013-12-16 | Under Construction/Commissioning | SHE | Wind Onshore
NBW Wind Energy Ltd | Ulzieside | Ulzieside 132/33kV | 0 | 30 | 30 | 2016-06-30 | Awaiting Consents | SPTL | Wind Onshore
Uskmouth Power Company | Uskmouth | Uskmouth 132kV Substation | 345 | -345 | 0 | 2014-04-01 | Built | NGET | Small Unit Coal
Viking Energy Ltd | Viking Wind Farm | Kergord | 0 | 412 | 412 | 2018-12-14 | Consents Approved | SHE | Wind Onshore
DONG Energy Walney Extension (UK) Ltd | Walney Extension Power Station A Offshore Wind Farm | N/A | 0 | 330 | 330 | 2016-04-02 | Awaiting Consents | NGET | Wind Offshore
DONG Energy Walney Extension (UK) Ltd | Walney Extension Power Station B Offshore Wind Farm | N/A | 0 | 330 | 330 | 2016-04-02 | Awaiting Consents | NGET | Wind Offshore
DONG Walney UK Ltd | Walney I Offshore Wind Farm | N/A | 182 | 0 | 182 | 2010-10-31 | Built | NGET | Wind Offshore
Walney (UK) Offshore Windfarms Ltd | Walney II Offshore Wind Farm | N/A | 182 | 0 | 182 | 2011-08-15 | Built | NGET | Wind Offshore
INEOS Chlor Energy Ltd | Weaver | Frodsham | 37 | 0 | 37 |  | Built | NGET | Thermal
West Burton Ltd | West Burton A | West Burton 400kV Substation | 1987 | 0 | 1987 |  | Built | NGET | Coal
West Burton Ltd | West Burton B | West Burton 400kV Substation | 1305 | 0 | 1305 |  | Built | NGET | CCGT
ScottishPower Renewables (UK) Limited and DONG Energy West of Duddon Sands Limited | West of Duddon Sands Offshore Wind Farm | Heysham 400kV Substation | 0 | 204 | 204 | 2013-10-31 | Under Construction/Commissioning | NGET | Wind Offshore
ScottishPower Renewables (UK) Limited and DONG Energy West of Duddon Sands Limited | West of Duddon Sands Offshore Wind Farm | Heysham 400kV Substation | 0 | 178 | 382 | 2014-04-01 | Under Construction/Commissioning | NGET | Wind Offshore
Westermost Rough Ltd | Westermost Rough Offshore Wind Farm | N/A | 0 | 205 | 205 | 2014-07-01 | Consents Approved | NGET | Wind Offshore
INEOS Chlor Energy Ltd | Weston Point | Frodsham | 46 | 0 | 46 |  | Built | NGET | Wind Onshore
ScottishPower Renewables (UK) Ltd | Whitelee | Whitelee | 322 | -17 | 305 | 2013-03-01 | Built | SPTL | Wind Onshore
ScottishPower Renewables (UK) Ltd | Whitelee Extension | Whitelee Extension | 217 | -11 | 206 | 2014-04-01 | Consents Approved | SPTL | Wind Onshore
SSE Renewables Developments (UK) Ltd | Whiteside Hill | Whiteside Hill Farm | 0 | 27 | 27 | 2016-06-30 | Consents Approved | SPTL | Wind Onshore
Sembcorp Utilities (UK) Ltd | Wilton | Wilton 66kV | 99 | 42 | 141 | 2014-07-01 | Under Construction/Commissioning | NGET | CCGT
Windy Edge Wind Farm Limited | Windy Edge Wind Farm | Windy Edge | 0 | 42.5 | 42.5 | 2020-06-30 | Awaiting Consents | SPTL | Wind Onshore
Brockloch Rig Windfarm Ltd | Windy Standard III Wind Farm | Dun Hill | 0 | 43.5 | 43.5 | 2018-07-01 | Awaiting Consents | SPTL | Wind Onshore
Nuclear Decommissioning Authority | Wylfa | Wylfa 400kV Substation | 490 | -40 | 450 |  | Built | NGET | Nuclear
Horizon Nuclear Power Wylfa Ltd | Wylfa C (Stage 1) | Wylfa 400kV Substation | 0 | 1200 | 1200 | 2020-10-31 | Scoping | NGET | Nuclear
Horizon Nuclear Power Wylfa Ltd | Wylfa C (Stage 2) | Wylfa 400kV Substation | 0 | 1200 | 2400 | 2021-10-31 | Scoping | NGET | Nuclear
Horizon Nuclear Power Wylfa Ltd | Wylfa C (Stage 3) | Wylfa 400kV Substation | 0 | 1200 | 3600 | 2022-10-31 | Scoping | NGET | Nuclear